## Slide 1: Battery2Life Webinar Battery diagnostic-sizing tool EoL battery diagnosis and 2nd life battery sizing
Izaskun Aizpurua Arconada
iaizpurua@cidetec.es
11/02/2026

## Slide 2: Who is CIDETEC Energy Storage?

## Slide 3: CIDETEC
CIDETEC is an organisation dedicated to applied research that integrates two internationally renowned institutes in the fields of energy storage and surface engineering.
INSTALACIONES DE TESTEO
INSTALACIONES PRINCIPALES
Donostia – San Sebastián, Spain

## Slide 4: CIDETEC
An ecosystem to become leaders in energy storage in Europe across the entire battery value chain.
RAW MATERIALS
Mining
Refining
Materials synthesis
CELL
MANUFACTURING
Mixing
Electrode coating
Cell assembly
BATTERY PACKS
BMS
Thermal management
Mechanical design
APPLICATIONS
Electromobility
Stationary storage
BATTERY MATERIALS
Electrode formulation
Separators
Electrolytes
END OF LIFE
Second life batteries
Recycling
Circular economy
MODELLING &
SIMULATIONS
BATTERY TESTING

## Slide 5: 2nd life Battery Diagnosis-Sizing Tool

## Slide 6: Challenges
Promoting the circularity of EV batteries by reusing batteries beyond their first life EoL.
Facilitate the integration of second-life batteries into the electricity system and promote their adoption as a sustainable solution in the energy transition.
Optimise battery sizing for second-life applications by comparing operating strategies.
Create an easy-to-use tool for processing data, obtaining results and displaying them clearly, which is useful for both end users and manufacturers.
Creation of a tool for sizing second-life batteries

## Slide 7: Diagnosis-Sizing Tool
SoH values p.u.
Round trip efficiency p.u.
Battery unit OK/NOK
BESS energy and power ranges
XSXP configuration
2nd lifespan and cost
OUTPUTS
SIZING for 2nd life
Economic analysis
System & operation costs
Lifespan expectancy
2nd life application results accepted?
No
Yes
Technical Validation
Operational limits
(V, I, FECs, EoL)
Initial sizing
Power & Energy requirements
2nd life application requirements
Available units & diagnosed SoH/round-trip efficiency
Equivalent Circuit Model
Short-term DIAGNOSIS
1st life data (last month)
Sorting test raw data
Equivalent Circuit Model
Test-based evaluation
EoL battery unit validation
Data-driven diagnosis 1st life operation analysis
INPUTS

## Slide 8: Diagnosis-Sizing Tool: Short-term diagnosis
BESS energy and power ranges
XSXP configuration
2nd lifespan and cost
SIZING for 2nd life
Economic analysis
System & operation costs
Lifespan expectancy
2nd life application results accepted?
Yes
Technical Validation
Operational limits
(V, I, FECs, EoL)
Initial sizing
Power & Energy requirements
2nd life application requirements
Available units & diagnosed SoH/round-trip efficiency
Equivalent Circuit Model
SoH values p.u.
Round trip efficiency p.u.
Battery unit OK/NOK
OUTPUTS
No
Short-term DIAGNOSIS
1st life data (last month)
Sorting test raw data
Equivalent Circuit Model
Test-based evaluation
EoL battery unit validation
Data-driven diagnosis 1st life operation analysis
INPUTS

## Slide 9: Diagnosis-Sizing Tool: Data-driven diagnosis
Test-based evaluation
EoL battery unit validation
Data-driven diagnosis 1st life operation analysis
Short-term
DIAGNOSIS

## Slide 10: Diagnosis-Sizing Tool: Test-based evaluation
Capacity & capacity deviation check
Observe Tº evolution
Li-plating detection
LLi & LAM (+/-)
Self-discharge
Impedance & OCV change
TEST 1:
3 cycles at 1C CC-CV
TEST 2:
C/20 charge
24h rest
TEST 3:
"HPPC" at discharge
Data-driven diagnosis 1st life operation analysis
Short-term
DIAGNOSIS
Test-based evaluation
EoL battery unit validation
UL 1974 tests
Observe

## Slide 11: Diagnosis-Sizing Tool
SoH values p.u.
Round trip efficiency p.u.
Battery unit OK/NOK
BESS energy and power ranges
XSXP configuration
2nd lifespan and cost
OUTPUTS
SIZING for 2nd life
Economic analysis
System & operation costs
Lifespan expectancy
2nd life application results accepted?
No
Yes
Technical Validation
Operational limits
(V, I, FECs, EoL)
Initial sizing
Power & Energy requirements
2nd life application requirements
Available units & diagnosed SoH/round-trip efficiency
Equivalent Circuit Model
Short-term DIAGNOSIS
1st life data (last month)
Sorting test raw data
Equivalent Circuit Model
Test-based evaluation
EoL battery unit validation
Data-driven diagnosis 1st life operation analysis
INPUTS

## Slide 12: Diagnosis-Sizing Tool: Sizing for 2nd life
SoH values p.u.
Round trip efficiency p.u.
Battery unit OK/NOK
Short-term DIAGNOSIS
1st life data (last month)
Sorting test raw data
Equivalent Circuit Model
Test-based evaluation
EoL battery unit validation
Data-driven diagnosis 1st life operation analysis
BESS energy and power ranges
XSXP configuration
2nd lifespan and cost
SIZING for 2nd life
Economic analysis
System & operation costs
Lifespan expectancy
2nd life application results accepted?
Yes
Technical Validation
Operational limits
(V, I, FECs, EoL)
Initial sizing
Power & Energy requirements
2nd life application requirements
Available units & diagnosed SoH/round-trip efficiency
Equivalent Circuit Model
OUTPUTS
No
INPUTS

## Slide 13: Diagnosis-Sizing Tool: Initial sizing
Power 43.26 kW | Energy 196 kWh (Daily excess) | 2nd life BESS 208 kWh (0.5C ≈ 100 kW) | Configuration 8S2P (modules)
Initial sizing
Economic analysis
Valid?
NO
YES
Technical validation
Initial sizing
2nd life SIZING
Daily excess
Charge period
Accumulated energy balance
Energy requirement
Peak power from balanced profile
Power requirement
Input profiles and application specifications

## Slide 14: Diagnosis-Sizing Tool: Technical validation
Voltage range limits
Ch/dch current limits
2nd life EoL
FEC number per day
Economic analysis
Valid?
NO
YES
Technical validation
Initial sizing
2nd life SIZING

## Slide 15: Diagnosis-Sizing Tool: Economic analysis
Power need 43.26 kW | Energy need 196 kWh
2nd life BESS 208 kWh | Configuration 8S2P
Microgrid with residential consumers, 2 EV chargers and renewable generation: 46 kWp PV, 50 kW chargers, average demand of 20 kW (with >100 kW peaks). 2nd life units with 80-90% SOH.
Self-consumption & Arbitrage | 
Savings 86.95 % | CAPEX max 47.56 €/kWh
Economic analysis
Valid?
NO
YES
Technical validation
Initial sizing
2nd life SIZING

## Slide 16: Outcomes
      It is adaptable and scalable to different scenarios and it can be useful for different agents of the value chain.
      It helps the economic and technical validation of 2nd life application improving reliability.
      It helps to promote reusability of batteries in stationary 2nd life applications.
It also imporves battery traceability.

## Slide 17
Battery2Life 1st webinar
Izaskun Aizpurua Arconada
iaizpurua@cidetec.es